## Instructions for Evaluators
The tables pictured above are on the Tech Evaluation tab at the bottom - they are currently hidden but can be unhidden and edited as desired
Before you Issue the RFP
Technical Evaluation Tab
1. This RFP can be configured to allow you to prioritize each Technical Requirement included on the Tech Evaluation tab to reflect your unique DCIM needs.
  a) On the Tech Evaluation tab Column D is called “Item Priority”
  b) Use the drop down list to set the “Item Priority”
  c) Set the “Item Priority” for each requirement on the Tech Evaluation tab
Before send out
Hide columns J to P or...
If you do not want to scoring to be seen, you can delete these columns or use the version of their RFP without the scoring features, available from the Cormant website
Pricing Evaluation Tab
1. The text box on the right contains a pricing scenario that includes all the details needed by most DCIM vendors to provide a price quote. Review the scenario and edit the scenario as desired
Evaluating the RFP
1. The vendors will respond by populating the green columns on the Technical and Pricing tabs
2. On the Tech Evaluation tab, unhide columns J to P, these are used to score the responses
3. In column J the evaluator is meant to score each response from the vendors using the drop down menu
4. The other scoring columns (K to P) will populate automatically and aggregate to the Scoring tab
5. Scoring is based on the following logic - see charts pasted below, point values can be edited at the bottom of the Tech Evaluation tab
  a) Priority is based on the values entered in column D “Item Priority”
  b) Eval PTS is based on how the evaluator scored the Vendor response to the requirement
  c) Vendor PTS is based on how the Vendor scored themselves in regards to the requirement
  d) Available PTS is based on (Priority) * 5 PTS – this reflect the total points available for this requirement
  e) Eval Total PTS is based on (Priority) * (Eval PTS) – this reflect the total points as scored by the RFP Evaluator
  f) Eval Total PTS is based on (Priority) * (Eval PTS) – this reflect the total points as scored by the DCIM Vendor
Vendor Summary
Aggregation of all the technical scores and pricing for easy evaluation

## Vendor Summary
Vendor X Scoring | Available PTS | Eval Total PTS |  | Vendor Total PTS
1. Infrastructure Modeling | 575 | #N/A | #N/A | #N/A | #N/A
2. Asset Management | 900 | #N/A | #N/A | #N/A | #N/A
3. Facility Management | 450 | #N/A | #N/A | #N/A | #N/A
4. Query, Discovery and API | 525 | #N/A | #N/A | #N/A | #N/A
5. Reporting & Dashboards | 700 | #N/A | #N/A | #N/A | #N/A
6. Import & Export | 375 | #N/A | #N/A | #N/A | #N/A
7. Connectivity Documentation | 600 | #N/A | #N/A | #N/A | #N/A
8. User, Logs and Security | 325 | #N/A | #N/A | #N/A | #N/A
9. Mobility | 200 | #N/A | #N/A | #N/A | #N/A
10. Workflow and Change Planning | 400 | #N/A | #N/A | #N/A | #N/A
11. Implementation, Training and Support | 375 | #N/A | #N/A | #N/A | #N/A
Total Points | 5425 | #N/A | #N/A | #N/A | #N/A
Pricing | USD$ |  | References |  | Since
Vendor Price for 1st Year | 0 |  | 0 |  | 0
Vendor Price per Rack for 1st Year | 0 |  | 0 |  | 0
Vendor Price for 2nd Year - Maintenance | 0 |  | 0 |  | 0
Vendor Price for License Upgrade | 0

## Instructions to Vendors
Vendor Instructions for completing the DCIM RFP
Tech Evaluation Tab
1. Technical requirements are grouped into 11 practice areas
2. Each Technical requirement includes text from the DCIM RFP issuer that details
  a. Item Priority
  b. Desired Functionality
3. Each Technical requirement includes places from the DCIM Vendor to detail their compliance with the requirement
  a. Vendor Compliance – select from drop down list
  b. Vendor Response – describe how your solution meets the desired functionality
Pricing Evaluation Tab
1. Pricing scenario is detailed in the test box
2. Provide pricing as itemized on this tab
3. Pricing to be in USD$
References Tab
1. Please supply reference customers
Green Tabs and column headers indicate areas for vendor response

## Tech Evaluation Vendor X
DCIM Technical Evaluation
SCORING
Practice Area | Item Ref. | Item Priority | Desired Functionality | Vendor Compliance | Vendor Response | Vendor - additional links or supporting Images | Evaluator Score (1-5) | Priority | Eval PTS | Vendor PTS | Available PTS | Eval Total PTS | Vendor Total PTS
1. Infrastructure Modeling
1. Infrastructure Modeling | 1.01 | 5 - Must Have | System will include ability to model all spaces within the infrastructure including Regions, Countries, Buildings, Floors, Data Centers, Communications closets, Storage rooms, Power Rooms, etc… |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 1.02 | 5 - Must Have | System will include ability to allow user defined naming conventions for all spaces and assets |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 1.03 | 5 - Must Have | System will include ability to model IT Infrastructure equipment including Device or Chassis/Blade/Port levels of equipment |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 1.04 | 5 - Must Have | System will include ability to model cabling including various cabling types (Copper, Fiber, Power) including modeling of the specific connector type (LC, RJ45, C19) |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 1.05 | 5 - Must Have | System will include Equipment Library with cable & device templates created for all leading manufacturers of infrastructure hardware |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 1.06 | 5 - Must Have | Equipment Library will be open to user edits and additions using a simple point and click interface |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 1.07 | 5 - Must Have | Equipment Library updates are available from the Vendor and can be imported by the user |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 1.08 | 5 - Must Have | System will include ability to model the real life colour coding of panels/outlets and cables |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 1.09 | 5 - Must Have | System will include Rack Elevation Views with ability to model the front and back of cabinets/racks including all the devices mounted within the rack |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 1.1 | 5 - Must Have | System will include Rack Elevation Views with ability to support multiple pieces of equipment within the same RU space - i.e.… the equipment is only half a rack wide and we have 2 in the same RU side by side |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 1.11 | 5 - Must Have | System will include Rack Elevation Views with ability to support multiple pieces of equipment within the same RU space - i.e.… the equipment is only mounted in the front or the back of the rack and we have 2 in the same RU front to back |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 1.12 | 5 - Must Have | System will include Rack Elevation Views with ability to configure the equipment to be rear facing if appropriate - i.e.… some top of rack switches are rear facing |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 1.13 | 5 - Must Have | System will include ability to model equipment in Zero U positions such as above, below and to the side of the cabinet |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 1.14 | 5 - Must Have | System will include ability to view user defined data points as part of the rack view |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 1.15 | 5 - Must Have | System will include ability to edit rack views with a point and click interface |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 1.16 | 5 - Must Have | System will include ability to display multiple Rack elevation views in one window - i.e.… all the racks in one row |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 1.17 | 5 - Must Have | System will include ability to print the rack elevation views. |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 1.18 | 5 - Must Have | System will include ability to model floor plans in 2D or 3D |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 1.19 | 5 - Must Have | System will allow for the importation of user supplied floorplans without the need to re-draw or re-create the floorplans in the DCIM tool or Visio |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 1.2 | 5 - Must Have | System will include ability to include multi level floor plans with a drill down capability - i.e. ...view an entire floor and drill down (click) to specific DC plans within that floor |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 1.21 | 5 - Must Have | System will include ability to deploy and edit DCIM elements on the floor plan using a point and click interface |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 1.22 | 5 - Must Have | System floorplans support cabinet colour coding to reflect capacities. Colour coding and capacities should be user defined |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 1.23 | 5 - Must Have | System will include ability to print floorplans |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
2. Asset Management | [7 empty] | 115 | #N/A | #N/A | 575 | #N/A | #N/A
2. Asset Management | 2.01 | 5 - Must Have | System will include ability to track any IT asset in any space regardless of data or power connectivity of the asset |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.02 | 5 - Must Have | System will include ability to configure user defined data points for any asset |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.03 | 5 - Must Have | System will include ability to support a range of data formats including multiple date formats, selection list (drop down) and hyperlinks |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.04 | 5 - Must Have | System will include ability to set Unit of Measure for data points |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.05 | 5 - Must Have | System will include ability to set data points as "Required" i.e.… data point must be populated to save the record |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.06 | 5 - Must Have | System will include ability to set data points with default values |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.07 | 5 - Must Have | System will include ability to set data points as "Read Only" i.e.… data point can not be edited |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.08 | 5 - Must Have | System will include ability to search for an asset based on any data point i.e.… Serial number, IP address, Hostname |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.09 | 5 - Must Have | System will include ability to search for an asset based on multiple criteria including Space, Manufacture, Model, |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.1 | 5 - Must Have | System will include ability to save user defined search criteria for re-use |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.11 | 5 - Must Have | System will include ability to include or exclude ports and cables from search results |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.12 | 5 - Must Have | System will include ability to search using wildcard characters to get partial matches |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.13 | 5 - Must Have | System will include ability to search using barcode scans from 3rd party barcode scanning accessories |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.14 | 5 - Must Have | System will include ability to search using barcode scans from smartphone or tablet cameras |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.15 | 5 - Must Have | System will include ability to sort search results by column headers |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.16 | 5 - Must Have | System will include ability to export search results to pdf, csv, xls |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.17 | 5 - Must Have | System will include ability to print search results |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.18 | 5 - Must Have | System will include ability to edit search results data while still in the search result interface i.e.…. You can edit a value in the search results without having to go to that specific asset |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.19 | 5 - Must Have | System will include ability to edit multiple lines of the search results data while still in the search result interface i.e.… You can change multiple asset records all at once without having to edit each line |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.2 | 5 - Must Have | System will include ability to "Bookmark" specific sites and DataCenter for quick access |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.21 | 5 - Must Have | System will support an unlimited number of user defined data points for any asset. |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.22 | 5 - Must Have | System will include ability to edit the data points of any asset using a point and click interface. |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.23 | 5 - Must Have | System will include ability to record the History of changes to any asset throughout the asset lifecycle. History log should include all Moves, Adds, Changes to locations, connections and data points |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.24 | 5 - Must Have | System will include ability to filter the History of any asset based on User, Date and type of action i.e.… Connect/Disconnect, Modify, Add/Delete etc.. |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.25 | 5 - Must Have | System will include ability to view the History of multiple assets in a rack/cabinet, Row, DC or building |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.26 | 5 - Must Have | System will include ability export History to pdf, csv, xls |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.27 | 5 - Must Have | System will include ability view the History of multiple assets in a rack/cabinet, Row, DC or building |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.28 | 5 - Must Have | System will support the ability to move assets to a rack/cabinet using drag and drop and cut and paste |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.29 | 5 - Must Have | System will support the ability to move assets to a rack/cabinet using a barcode scan |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.3 | 5 - Must Have | System will support the ability to add assets to a rack/cabinet using copy and paste |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.31 | 5 - Must Have | System will support the ability to update data point values using barcode scans with 3rd party barcode scanners i.e.… scan in the Serial Number or Asset tag |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.32 | 5 - Must Have | System will support the ability to update data point values using barcode scans using smartphone or tablet cameras i.e.… scan in the Serial Number or Asset tag |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.33 | 5 - Must Have | System will support the ability to manage individual sub assets such as SFP's, Hard Drives, USB License dongles in the same way that any other asset is managed |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.34 | 5 - Must Have | System will support the ability to Audit assets inventory using barcode scanning and mobile devices |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.35 | 5 - Must Have | System will support the ability to detail Audit discrepancies and accept or reject changes using mobile devices |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 2.36 | 5 - Must Have | System will support the ability to manage virtual server infrastructure |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
3. Facility Management | [7 empty] | 180 | #N/A | #N/A | 900 | #N/A | #N/A
3. Facility Management | 3.01 | 5 - Must Have | System will include ability to track any Facility asset in any space regardless of data or power connectivity of the asset |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 3.02 | 5 - Must Have | System will include ability to add and edit Facility equipment on floorplans |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 3.03 | 5 - Must Have | System will include ability to create user defined alerting thresholds for capacities such as Power, Temperature and Humidity |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 3.04 | 5 - Must Have | System will include ability to configure colour coded floor plan overlays to reflect current facility capacities such as RU, Power, Temperature and Humidity |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 3.05 | 5 - Must Have | System will include ability to configure Alert thresholds for Warnings and Critical alert levels |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 3.06 | 5 - Must Have | System will include ability to configure Alert subscriptions to the specific thresholds and Datacenter locations the user want to be notified about |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 3.07 | 5 - Must Have | System will include ability to assign Alerts to users for actions. Users will receive a notification when an alert is assigned to them. |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 3.08 | 5 - Must Have | System will include ability to display critical alerts on screen with some kind of obvious call for action to the user i.e... Red shading surrounding a rack or site |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 3.09 | 5 - Must Have | System will include ability to view all alerts and filter them by status, threshold, locations, severity etc |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 3.1 | 5 - Must Have | System will include ability to track an Alerts history over time |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 3.11 | 5 - Must Have | System will include ability to calculate PUE, DCSE and any other customer derived metric |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 3.12 | 5 - Must Have | System will include ability to aggregate capacity information to Racks, Row, and DC spaces |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 3.13 | 5 - Must Have | System will include ability to aggregate capacity information based on connectivity i.e.… UPS load can be calculated based on connected power panels, breaker and PDU's |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 3.14 | 5 - Must Have | System will include ability to generate "What if" scenarios to identify all the dependent systems attached to any chain of Power connectivity |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 3.15 | 5 - Must Have | System will include ability to identify which systems have redundant power connections |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 3.16 | 5 - Must Have | System will include ability to generate "What if" scenarios to identify all the dependent systems attached to any chain of Data connectivity |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 3.17 | 5 - Must Have | System will include ability to convert Watts to Amps as required or desired |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 3.18 | 5 - Must Have | System will include ability to convert Celsius to Fahrenheit as required or desired |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
4. Query, Discovery and API | [7 empty] | 90 | #N/A | #N/A | 450 | #N/A | #N/A
4. Query, Discovery and API abilities | 4.01 | 5 - Must Have | System will include ability to query any online device using protocols such as SNMPv1 to v3, MODBus over IP, BacNet etc… |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 4.02 | 5 - Must Have | System will include ability to configure the frequency of the query |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 4.03 | 5 - Must Have | System will include ability to configure the data points to populate with queried data |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 4.04 | 5 - Must Have | System will include ability to configure multiple, site specific IP ranges for Query and Discovery |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 4.05 | 5 - Must Have | System will include ability to display newly discovered assets |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 4.06 | 5 - Must Have | System will include ability to link discovered assets to items in the DCIM |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 4.07 | 5 - Must Have | System will include ability to dynamically update data points of linked assets as the values change |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 4.08 | 5 - Must Have | System will include ability to recommend links between discovered assets and items in the DCIM based on matching criteria such as IP address or MAC address |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 4.09 | 5 - Must Have | System will include ability to configure the frequency of the Discovery scans |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 4.1 | 5 - Must Have | System will include ability to read 3rd party MIB files |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 4.11 | 5 - Must Have | System will include ability to map device OID to DCIM Parts or Templates |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 4.12 | 5 - Must Have | System will include ability to allow or disallow SNMP queries for specific sites |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 4.13 | 5 - Must Have | System will include ability to allow or disallow ICMP queries for specific sites |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 4.14 | 5 - Must Have | System will include out of box support to query basic Power and Environmental data from PDU hardware venders such as APC, Raritan, Emerson, ServerTech, Geist etc… |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 4.15 | 5 - Must Have | System will include ability to edit existing queries to include additional data |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 4.16 | 5 - Must Have | System will include ability to add queries based on user requirements |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 4.17 | 5 - Must Have | System will include a read/write API with access to all data stored within the DCIM tool |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 4.18 | 5 - Must Have | System will include ability to integrate with 3rd Party systems such as ITSM, Ticketing, Asset, Financial and Facility Management. |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 4.19 | 5 - Must Have | System will include ability to configure integrations based on customer specific business rules and customer specific configurations of the target system |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 4.2 | 5 - Must Have | System will include user defined error handling and logging for all data passed through the API |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 4.21 | 5 - Must Have | System vendor will include on going support for integrations and update the integration to account for changes with the target system as required |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
5. Reporting & Dashboards | [7 empty] | 105 | #N/A | #N/A | 525 | #N/A | #N/A
5. Reporting & Dashboards | 5.01 | 5 - Must Have | System will include support for configuration of an unlimited number of user defined reports for both current and historical data using a point and click interface |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 5.02 | 5 - Must Have | System will include support for recording data points as they change over time. The user should be able to configure the frequency that any data point is saved for historical reporting |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 5.03 | 5 - Must Have | System will include support to purge the historical data archive based on user defined time periods |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 5.04 | 5 - Must Have | System will include support for filtering of data that will appear on a report. The user should be able to configure an unlimited number of report filters to deliver the exact data desired |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 5.05 | 5 - Must Have | System will include support for adding and removing information from a report a report based on the data the user wants to see |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 5.06 | 5 - Must Have | System will include support to arrange the column headers in a report in any order the user wants to see |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 5.07 | 5 - Must Have | System will include support to add up numerical values included in a report to give totals in the report |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 5.08 | 5 - Must Have | System will include support to display the Unit Of Measure for any data |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 5.09 | 5 - Must Have | System will include support to limit the number of decimal places displayed |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 5.1 | 5 - Must Have | System will include support to create an unlimited number of user defined reports |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 5.11 | 5 - Must Have | System will include support to have report results grouped and sorted as per the user requirements |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 5.12 | 5 - Must Have | System will include support to view the report data within the DCIM tool as either data or as a graph |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 5.13 | 5 - Must Have | System will include support for visual graphing of data in bar charts, pie charts and historical charts |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 5.14 | 5 - Must Have | System will include support to export report visual graphs as png, jpg, pdf |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 5.15 | 5 - Must Have | System will include support to export report data in csv, xls, pdf |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 5.16 | 5 - Must Have | System will include support for report caching with user configurable caching intervals |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 5.17 | 5 - Must Have | System will include support to have reports generated on a predefined schedule. |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 5.18 | 5 - Must Have | System will include support to have scheduled reports sent to users via Email |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 5.19 | 5 - Must Have | System will include support to have scheduled reports written to a network share |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 5.2 | 5 - Must Have | System will include support to have Historical data archived to a separate database |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 5.21 | 5 - Must Have | System will include support to allow users to populate dashboards with the reports they choose including user defined custom reports and historical reports |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 5.22 | 5 - Must Have | System will include support for dashboards with 1,2,3 or 4 columns of reports |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 5.23 | 5 - Must Have | System will include support for an unlimited number of dashboards for each user |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 5.24 | 5 - Must Have | System will include support for dashboards widgets to display current alerts assigned to a user |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 5.25 | 5 - Must Have | System will include support for dashboards widgets to display current Workorder tasks assigned to a user |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 5.26 | 5 - Must Have | System will include support for dashboards widgets with datacenter floorplans with user defined colour coding related to power or temperature capacities |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 5.27 | 5 - Must Have | System will include support for viewing the supporting data that is displayed on the dashboard |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 5.28 | 5 - Must Have | System will include support to view dashboard data as a bar chart, pie chart or line chart as appropriate |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
6. Import & Export | [7 empty] | 140 | #N/A | #N/A | 700 | #N/A | #N/A
6. Import & Export | 6.01 | 5 - Must Have | System will include support to import asset data in csv format. Single format should support all asset data the user wants to add to the import, no limitations on the number of columns or rows within the import source |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 6.02 | 5 - Must Have | System will include support to import asset data to layout Rack Views including RU Locations and mounting details. |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 6.03 | 5 - Must Have | System will include support to import asset data with an unlimited number of user defined column headers |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 6.04 | 5 - Must Have | System will include support to import asset data to existing assets to make mass updates |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 6.05 | 5 - Must Have | System will include support to rename existing assets using an import |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 6.06 | 5 - Must Have | System will include support to move existing assets using an import |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 6.07 | 5 - Must Have | System will include support to delete existing assets using an import |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 6.08 | 5 - Must Have | System will include support to import connections |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 6.09 | 5 - Must Have | System will include support to import disconnections |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 6.1 | 5 - Must Have | System will include support to import cable test data to cables including Length, Test Date and various test data |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 6.11 | 5 - Must Have | System will include support to export all asset data to csv format |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 6.12 | 5 - Must Have | System will include support to exclude ports and/or cables from export of all asset data |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 6.13 | 5 - Must Have | System will include support to exclude unused data attributes from export of all asset data |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 6.14 | 5 - Must Have | System will include support to export History of asset changes |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 6.15 | 5 - Must Have | System will include support to export History of asset changes filtered by user, date and type of change |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
7. Connectivity Documentation | [7 empty] | 75 | #N/A | #N/A | 375 | #N/A | #N/A
7. Connectivity Documentation | 7.01 | 5 - Must Have | System will include support to document connectivity of all data cabling including Copper and Fiber, backbone and patch cables, active and passive ports. |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 7.02 | 5 - Must Have | System will include support to document connectivity of all power cabling including hi and low voltage, backbone and patch cables. |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 7.03 | 5 - Must Have | System will include support to document multi core copper of fiber sheaves |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 7.04 | 5 - Must Have | System will include support to visualize various color of cables and ports |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 7.05 | 5 - Must Have | System will include support to document various applications and categories of cables and ports |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 7.06 | 5 - Must Have | System will include support to notify users of a mismatch of application or category when making a connection |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 7.07 | 5 - Must Have | System will include support to visually differentiate between connected and un connected ports on a device |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 7.08 | 5 - Must Have | System will include support to visually differentiate between various ports (RJ45, LC, C19) on a device |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 7.09 | 5 - Must Have | System will include support to allow a user to configure an unlimited number of ports and connections in the system |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 7.1 | 5 - Must Have | System will include support to allow a user to configure an unlimited number of ports and connections in any single channel of connectivity, state any limits to the number of connections any channel can document |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 7.11 | 5 - Must Have | System will include support to create connections using drag and drop |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 7.12 | 5 - Must Have | System will include support to create multiple connections using drag and drop |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 7.13 | 5 - Must Have | System will include support to create multiple connections disconnections |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 7.14 | 5 - Must Have | System will include support to add barcodes to cables, scanning the cable should bring the user to that cable in the channel of connectivity |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 7.15 | 5 - Must Have | System will include support to add multiple cables or import multiple cables with barcode data included |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 7.16 | 5 - Must Have | System will include support to update connection data on mobile devices |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 7.17 | 5 - Must Have | System will include support to audit connections using mobile devices and barcode scanning |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 7.18 | 5 - Must Have | System will include support to view the channels of connectivity from any device in the channel, to be able to expand the channel and see additional connections. I.e.… view connections from a server to a switch and expand the switch to see the other connections on the switch |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 7.19 | 5 - Must Have | System will include support to view the details of any port or cable within the channel of connectivity |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 7.2 | 5 - Must Have | System will include support to document MPO or MTP high density fiber optic cabling, including support for fan out cables and modules. |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 7.21 | 5 - Must Have | System will include support to document Cisco TwinAx high density copper cabling, including support for fan out cables |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 7.22 | 5 - Must Have | System will include support to document SFP or GBIC's used or in storage |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 7.23 | 5 - Must Have | System will include support to document Cable Tray including the cables in the tray |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 7.24 | 5 - Must Have | System will include support to document conduits and pathways including the cables in the pathway, fill rate, condition etc… |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
8. User, Logs and Security | [7 empty] | 120 | #N/A | #N/A | 600 | #N/A | #N/A
8. User, Logs and Security | 8.01 | 5 - Must Have | System will include support for role based user groups |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 8.02 | 5 - Must Have | System will include support to limit the ability to view or edit certain data based on the users role |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 8.03 | 5 - Must Have | System will include support to limit the ability to view or edit certain datacenters based on the users role, including support to have an elevated level of permission for some Datacenters and a lesser permission to others Datacenters |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 8.04 | 5 - Must Have | System will include support to limit the ability to view or edit certain Reports based on the users role |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 8.05 | 5 - Must Have | System will include support to limit the ability to view or edit certain DCIM modules based on the users role |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 8.06 | 5 - Must Have | System will include support to integrate with Active Directory and create a Single Sign On |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 8.07 | 5 - Must Have | System will include support for user defined Password complexity |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 8.08 | 5 - Must Have | System will include support for user defined Password life before a new password is required |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 8.09 | 5 - Must Have | System will include support to view, sort and export logs detailing all Login attempts |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 8.1 | 5 - Must Have | System will include support to view, sort and export logs detailing all Configuration changes |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 8.11 | 5 - Must Have | System will include support to view, sort and export logs detailing all Administrative changes |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 8.12 | 5 - Must Have | System will include support for HTTPS web sessions |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 8.13 | 5 - Must Have | System will include support for storing all password with encryption, no plain text |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
9. Mobility | [7 empty] | 65 | #N/A | #N/A | 325 | #N/A | #N/A
9. Mobility | 9.01 | 5 - Must Have | System will include support for viewing and updating records on Smartphones and Tablets |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 9.02 | 5 - Must Have | System will include support for barcode scans of assets and cables with the smartphones or tablets built in camera. There should be no need to download any 3rd party decoder or wedge |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 9.03 | 5 - Must Have | System will include support for barcode scans of assets and cables with 3rd party barcode scanners connected to the smartphone or tablet, including Bluetooth connected barcode scanners |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 9.04 | 5 - Must Have | System will include support for 1D and 2D barcodes |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 9.05 | 5 - Must Have | System will include support for offline mobility where all moves, adds, and changes to the records are stored until connectivity is restored and synch is possible |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 9.06 | 5 - Must Have | System will include support for RFID tags to behave in the same ways as described for barcodes |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 9.07 | 5 - Must Have | System will include support for mobile asset audit features to update inventory. Feature should leverage barcoded assets for fast and accurate inventory |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 9.08 | 5 - Must Have | System will include support for mobile connection audit features to update patching and connections Feature should leverage barcoded cables for fast and accurate updates |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
10. Workflow and Change Planning | [7 empty] | 40 | #N/A | #N/A | 200 | #N/A | #N/A
10. Workflow and Change Planning | 10.01 | 5 - Must Have | System will include support for planning and executing changes within the infrastructure |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 10.02 | 5 - Must Have | System will include support for workflow orders that can included multiple tasks |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 10.03 | 5 - Must Have | System will include support for assigning tasks to users |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 10.04 | 5 - Must Have | System will include support for notifying users when tasks are assigned |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 10.05 | 5 - Must Have | System will include support for notifying requestors when tasks are completed |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 10.06 | 5 - Must Have | System will include support for tasks such as Install, Admin, Decommission, Modify, Move, Rename |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 10.07 | 5 - Must Have | System will include support for additional user defined tasks |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 10.08 | 5 - Must Have | System will include support for recommended locations for new equipment based on available power, space, cooling and services |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 10.09 | 5 - Must Have | System will include support for reserving equipment, ports, and RU space planned in the Workorder tasks. |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 10.1 | 5 - Must Have | System will include support for creating detailed patching schedules including unlimited number of cross connect or additional patches required to complete each channel. |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 10.11 | 5 - Must Have | System will include support for detailed activity log of all changes to the Workorder |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 10.12 | 5 - Must Have | System will include support for in task Blog to share updates with other stakeholders |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 10.13 | 5 - Must Have | System will include support for attaching documents to Workorder tasks |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 10.14 | 5 - Must Have | System will include support for filtering of work orders based on Assignee, Status or other user defined filters |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 10.15 | 5 - Must Have | System will include support for integrating with 3rd party ticketing tools |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 10.16 | 5 - Must Have | System will include support for editing existing fields and adding additional user defined fields to any task |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
11. Implementation, Training and Support | [7 empty] | 80 | #N/A | #N/A | 400 | #N/A | #N/A
11. Implementation, Training and Support | 11.01 | 5 - Must Have | System will include online Help Files that are kept up to date by the Vendor |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 11.02 | 5 - Must Have | Vendor offers full Implementation consulting with project planning |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 11.03 | 5 - Must Have | Vendor offers full, onsite, Asset inventory services to generate initial data to populate the DCIM solution |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 11.04 | 5 - Must Have | Vendor offers onsite Implementation services in support of deployment |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 11.05 | 5 - Must Have | Vendor offers remote Implementation services in support of deployment |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 11.06 | 5 - Must Have | Vendor offers turnkey Data Migration where the customer can supply the vendor with existing data to be migrated into the DCIM system |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 11.07 | 5 - Must Have | Vendor offers onsite Data validation services |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 11.08 | 5 - Must Have | Vendor allows the customer to perform all implementation tasks if desired |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 11.09 | 5 - Must Have | Vendor offers onsite training services, list available courses |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 11.1 | 5 - Must Have | Vendor offers remote training services, list available courses |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 11.11 | 5 - Must Have | Vendor offers annual maintenance and support contracts, state the renewal rate pricing logic |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 11.12 | 5 - Must Have | Vendor offers Application Support with 24x5 access via phone, email and Skype |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 11.13 | 5 - Must Have | Vendor offers Upgrade Assurance, giving all customers access to all latest release at no cost above the annual support agreement |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 11.14 | 5 - Must Have | Vendor offers website with educational resources |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
| 11.15 | 5 - Must Have | Vendor offers ongoing training through user communities, new release training and online webinars |  |  |  |  | 5 | #N/A | #N/A | 25 | #N/A | #N/A
[8 empty] | 75 | #N/A | #N/A | 375 | #N/A | #N/A
Selectors - Do Not Delete these Rows - OK to hide
Item Priority | Points |  | Item Priority
5 - Must Have | 5 |  | 5 - Must Have
4 - High Priority | 4 |  | 4 - High Priority
3 - Medium Priority | 3 |  | 3 - Medium Priority
2 - Nice to Have | 2 |  | 2 - Nice to Have
1 - Low Priority | 1 |  | 1 - Low Priority
Vendor Compliance Options | Points |  | Vendor Compliance Options
Fully Comply in Current Release | 5 |  | Fully Comply in Current Release
Partially Comply in Current Release | 4 |  | Partially Comply in Current Release
Functionality is on Dev Roadmap | 3 |  | Functionality is on Dev Roadmap
Functionality may be added to a Future Release | 2 |  | Functionality may be added to a Future Release
Functionality is not supported, not on roadmap | 1 |  | Functionality is not supported, not on roadmap
Evaluator Options | Points |  | Evaluator Options
5 - Vendor Fully Compliant | 5 |  | 5 - Vendor Fully Compliant
4 - Vendor Partially Compliant | 4 |  | 4 - Vendor Partially Compliant
3 - Vendor will be Compliant in the future | 3 |  | 3 - Vendor will be Compliant in the future
2 - Vendor might be Compliant in the future | 2 |  | 2 - Vendor might be Compliant in the future
1 - Vendor not Compliant | 1 |  | 1 - Vendor not Compliant
Note on O3: Total Points = Evaluator Score (1 to 5) Multiplied by Priority Score (1 to 5)
Note on P3: Total Points = Vendor Score (1 to 5) Multiplied by Priority Score (1 to 5)

## Pricing Evaluation Vendor X
Customer Data
| Total Racks | 500
| All Data center sqft | 15000
| Number of Users | 25
| Number of Sites | 2
| Approximate accuracy/completeness of current data | 75%
Item Ref | 1st Year Items to price | USD$ | Vendor Notes
P1 | Software - perpetual license for 500 racks
P2 | 1st Year Support and Maintenance
P3 | Implementation Services
P4 | Training Services
P5 | Other 1st year costs (add rows as required)
P6
P7 | Total Project USD$ | 0
Item Ref | Future Item to price | USD$ | Vendor Notes
P8 | 2nd Year Support Contract Renewal (based on 500 Racks)
P8 | 2nd Year Support Contract Renewal (based on 500 Racks)
P9 | License Upgrade of 250 racks for a total of 750 Racks
Vendor Instructions
Complete the pricing evaluation based on a project that includes the following assumptions
1. License should be sized for Rack count specified with room for growth of up to 20%.
2. Cabinets are moderately populated - assume about 60% RU capacity.
3. Perpetual License to be supplied.
4. Application and Database server owned by customer and operated on the customer premises.
5. Existing asset data is in MS Excel format. Floor plans exist in a drawing tool.
6. Vendor will be responsible for:
a) Planning the implementation and providing project management
b) Configuration of DCIM with customer parts, symbols, templates
c) Migration of all existing asset inventory data
d) Migration and configuration of all existing floor plan data
e) Configuration of a limited number of user accounts and roles
f) Confirmation of basic application settings
g) Delivery of customer required custom reports and dashboards.
h) data collection from existing SNMP enabled PDUs
7. Licensing should include at least the following modules:
a) Asset Management
b) Connectivity Management
c) Reporting
d) Dashboards
e) Alerts / Monitoring
f) Workflow
g) Power and Environmental data and historical
h) mobile data access
8. Vendor will provide onsite training, please detail suggested courses

## References Vendor X
Reference Customer 1
Customer Name
Date Purchased Solution
Approximate Size
Contact Information
Describe usage of the DCIM solution
Reference Customer 2
Customer Name
Date Purchased Solution
Approximate Size
Contact Information
Describe usage of the DCIM solution
Reference Customer 3
Customer Name
Date Purchased Solution
Approximate Size
Contact Information
Describe usage of the DCIM solution
Please provide 3 reference customers of similar size and industry